## final_heat_demand
|  | space heating | warm water | process heat | oil space heating | gas space heating | power space heating | district heating space heating | coal space heating | RES space heating | other space heating | oil warm water | gas warm water | power warm water | district heating warm water | coal warm water | RES warm water | other warm water | oil porcess heat | gas process heat | power process heat | district heating process heat | coal process heat | RES process heat | other process heat
|  | SH | WW | PH | SH | SH | SH | SH | SH | SH | SH | WW | WW | WW | WW | WW | WW | WW | PH | PH | PH | PH | PH | PH | PH
|  | j01 | j02 | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16 | j17 | j18 | j19 | j20 | j21 | j22 | j23 | j24
2008 | IN | 199.283 | 22.9569 | 1666.1295 | 23.7977 | 121.7113 | 3.2993 | 23.636 | 7.6158 | 17.4579 | 1.7649 | [7 empty] | 116.3995 | 784.6907 | 143.6243 | 104.1977 | 375.1022 | 79.547 | 62.5681
2009 | IN | 217.5818 | 23.7484 | 1470.8308 | 28.1209 | 121.7441 | 3.1033 | 29.9638 | 8.4254 | 23.4979 | 2.7265 | [7 empty] | 100.7262 | 653.2963 | 145.0741 | 118.9015 | 307.7856 | 72.2926 | 72.7544
2010 | IN | 217.7829 | 23.9047 | 1692.8117 | 25.9537 | 123.1916 | 3.1075 | 28.0399 | 8.3804 | 26.419 | 2.6909 | [7 empty] | 91.6812 | 769.6283 | 145.6141 | 115.0484 | 388.7549 | 110.7424 | 71.3423
2011 | IN | 224.2017 | 23.8431 | 1709.8675 | 21.6863 | 129.6545 | 3.2123 | 29.8874 | 8.8218 | 28.6763 | 2.263 | [7 empty] | 77.6072 | 768.3234 | 145.6589 | 136.7508 | 397.455 | 87.3677 | 96.7047
2012 | IN | 221.1157 | 23.2614 | 1664.7039 | 23.4612 | 126.5873 | 3.2668 | 37.1731 | 9.1437 | 19.4817 | 2.0019 | [7 empty] | 70.9516 | 747.9103 | 145.8763 | 171.3569 | 387.4596 | 61.2645 | 79.8847
2013 | IN | 192.6642 | 15.9588 | 1651.2149 | 16.155 | 117.912 | 2.6941 | 28.2138 | 7.371 | 18.8757 | 1.4426 | [7 empty] | 61.2039 | 767.448 | 137.0049 | 159.267 | 393.3672 | 71.8958 | 61.0281
2014 | IN | 169.7116 | 16.1236 | 1656.394 | 11.8312 | 103.1184 | 2.3736 | 22.5853 | 6.69 | 21.6972 | 1.4159 | [7 empty] | 45.2311 | 759.1303 | 140.9308 | 149.6841 | 399.8909 | 90.1661 | 71.3607
2015 | IN | 174.7291 | 16.2333 | 1682.667 | 11.2581 | 106.803 | 2.4428 | 23.9081 | 6.9533 | 21.841 | 1.5227 | [7 empty] | 40.2566 | 762.9703 | 139.6869 | 154.5558 | 419.6831 | 89.8801 | 75.6343
2008 | TS | 725.2202 | 65.0474 | 117.8063 | 207.0723 | 342.6804 | 29.3248 | 124.4006 | 15.4529 | 6.2893 |  | 19.9844 | 21.9878 | 11.9448 | 7.9742 |  | 3.1562 |  | 35.5855 | 47.383 | 24.4114 | 9.2243 |  | 1.2022
2009 | TS | 633.3828 | 70.5833 | 94.1782 | 174.6959 | 338.0478 | 23.2611 | 79.1469 | 9.6443 | 8.5867 |  | 15.6816 | 25.7956 | 19.4757 | 5.808 |  | 3.8224 |  | 33.1571 | 26.7991 | 18.616 | 14.4122 |  | 1.1939
2010 | TS | 712.8325 | 73.9791 | 112.0644 | 178.7082 | 363.2549 | 19.0167 | 110.4517 | 12.559 | 28.842 |  | 16.6012 | 22.2344 | 21.5237 | 8.1154 |  | 5.5043 |  | 33.5541 | 35.4471 | 19.8158 | 18.0639 |  | 5.1837
2011 | TS | 600.4435 | 73.0339 | 106.0315 | 148.1204 | 320.8418 | 14.2994 | 68.5799 | 16.514 | 32.088 |  | 13.9565 | 27.1855 | 20.7766 | 5.0326 |  | 6.0828 |  | 28.3331 | 39.7244 | 19.3013 | 12.7345 |  | 5.9382
2012 | TS | 586.9409 | 74.9284 | 102.4053 | 159.3235 | 304.4631 | 16.6884 | 38.158 | 4.279 | 64.0289 |  | 14.9509 | 23.1459 | 21.7609 | 2.806 |  | 12.2648 |  | 29.927 | 33.8289 | 20.1921 | 6.791 |  | 11.6663
2013 | TS | 715.9911 | 65.3089 | 100.1227 | 182.5545 | 359.0791 | 22.6488 | 51.9318 | 0.716 | 99.0609 |  | 14.0809 | 17.7954 | 20.7722 | 4.3606 |  | 8.2998 |  | 30.1496 | 30.5947 | 25.4405 | 4.4696 |  | 9.4683
2014 | TS | 631.734 | 63.3157 | 93.4789 | 167.2086 | 326.5119 | 17.5638 | 44.5038 | 2.123 | 73.8228 |  | 13.3861 | 19.8628 | 19.8755 | 3.1555 |  | 7.0359 |  | 13.7283 | 38.1835 | 24.6891 | 7.8887 |  | 8.9893
2015 | TS | 651.2867 | 63.5006 | 93.4581 | 164.6237 | 334.2736 | 19.9927 | 52.0937 | 1.114 | 79.189 |  | 12.5526 | 19.7118 | 20.7003 | 3.273 |  | 7.2629 |  | 12.7797 | 37.4508 | 25.5341 | 8.4713 |  | 9.2221
2008 | HH | j01: 1832.5349; j02: 339.8268; j04: 559.8407; j05: 801.4629; j06: 60.4002; j07: 151.2539; j08: 40.8615; j09: 218.7156; j11: 86.9063; j12: 163.8771; j13: 61.8002; j14: 12.7961; j15: 3.8447; j16: 10.6024
2009 | HH | j01: 1761.527; j02: 336.067; j04: 491.2359; j05: 776.0307; j06: 55.555; j07: 161.7048; j08: 37.9534; j09: 239.0471; j11: 66.6821; j12: 175.0881; j13: 68.0708; j14: 14.7362; j15: 0; j16: 11.4898
2010 | HH | j01: 1977.988; j02: 324.4267; j04: 500.4541; j05: 875.8424; j06: 67.5658; j07: 177.5143; j08: 53.758; j09: 302.8534; j11: 62.2799; j12: 164.6074; j13: 71.8461; j14: 11.9017; j15: 0; j16: 13.7916
2011 | HH | j01: 1559.2459; j02: 381.2494; j04: 392.3682; j05: 682.1289; j06: 32.9479; j07: 145.4471; j08: 58.036; j09: 248.3178; j11: 80.9348; j12: 183.3493; j13: 69.3382; j14: 18.8999; j15: 0; j16: 28.7272
2012 | HH | j01: 1655.954; j02: 374.7576; j04: 449.458; j05: 734.1269; j06: 31.5648; j07: 152.4851; j08: 30.302; j09: 258.0171; j11: 85.611; j12: 178.72; j13: 68.5548; j14: 18.2709; j15: 0.77697; j16: 22.8239
2013 | HH | j01: 1816.7006; j02: 345.4004; j04: 518.4345; j05: 788.1513; j06: 33.7426; j07: 170.6251; j08: 28.455; j09: 277.292; j11: 63.9385; j12: 173.6797; j13: 66.2134; j14: 13.8609; j15: 0; j16: 27.708
2014 | HH | j01: 1472.5918; j02: 332.3218; j04: 426.4765; j05: 621.0052; j06: 32.8491; j07: 139.4429; j08: 24.096; j09: 228.722; j11: 67.8985; j12: 156.038; j13: 54.6583; j14: 13.8991; j15: 0; j16: 39.828
2015 | HH | j01: 1569.6647; j02: 329.6486; j04: 423.001; j05: 684.9697; j06: 33.0599; j07: 154.2008; j08: 24.628; j09: 249.8054; j11: 61.916; j12: 155.9515; j13: 56.0012; j14: 14.1072; j15: 0; j16: 41.6726

## final_heat_demand_0
|  | space heating | warm water | process heat | oil space heating | gas space heating | power space heating | district heating space heating | coal space heating | RES space heating | other space heating | oil warm water | gas warm water | power warm water | district heating warm water | coal warm water | RES warm water | other warm water | oil porcess heat | gas process heat | power process heat | district heating process heat | coal process heat | RES process heat | other process heat
|  | SH | WW | PH | SH | SH | SH | SH | SH | SH | SH | WW | WW | WW | WW | WW | WW | WW | PH | PH | PH | PH | PH | PH | PH
|  | j01 | j02 | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16 | j17 | j18 | j19 | j20 | j21 | j22 | j23 | j24
2008 | IN | 199.283 | 22.9569 | 1666.1295 | 23.7977 | 121.7113 | 3.2993 | 23.636 | 7.6158 | 17.4579 | 1.7649 | [7 empty] | 116.3995 | 784.6907 | 143.6243 | 104.1977 | 375.1022 | 79.547 | 62.5681
2009 | IN | 217.5818 | 23.7484 | 1470.8308 | 28.1209 | 121.7441 | 3.1033 | 29.9638 | 8.4254 | 23.4979 | 2.7265 | [7 empty] | 100.7262 | 653.2963 | 145.0741 | 118.9015 | 307.7856 | 72.2926 | 72.7544
2010 | IN | 217.7829 | 23.9047 | 1692.8117 | 25.9537 | 123.1916 | 3.1075 | 28.0399 | 8.3804 | 26.419 | 2.6909 | [7 empty] | 91.6812 | 769.6283 | 145.6141 | 115.0484 | 388.7549 | 110.7424 | 71.3423
2011 | IN | 224.2017 | 23.8431 | 1709.8675 | 21.6863 | 129.6545 | 3.2123 | 29.8874 | 8.8218 | 28.6763 | 2.263 | [7 empty] | 77.6072 | 768.3234 | 145.6589 | 136.7508 | 397.455 | 87.3677 | 96.7047
2012 | IN | 221.1157 | 23.2614 | 1664.7039 | 23.4612 | 126.5873 | 3.2668 | 37.1731 | 9.1437 | 19.4817 | 2.0019 | [7 empty] | 70.9516 | 747.9103 | 145.8763 | 171.3569 | 387.4596 | 61.2645 | 79.8847
2013 | IN | 192.6642 | 15.9588 | 1651.2149 | 28.8433 | 124.5092 | 3.179 | 28.2138 | 8.899 | 19.4834 | 1.8403 | [7 empty] | 87.2283 | 735.6323 | 141.9562 | 159.267 | 377.0898 | 61.2698 | 73.4346
2014 | IN | 169.7116 | 16.1236 | 1656.394 | 28.3655 | 122.4465 | 3.1264 | 22.5853 | 8.7515 | 19.1606 | 1.8098 | [7 empty] | 85.7833 | 723.4453 | 139.6044 | 149.6841 | 370.8427 | 60.2548 | 72.218
2015 | IN | j01: 174.7291; j02: 16.2333; j03: 1682.667; j07: 23.9081; j21: 154.5558
2008 | TS | 725.2202 | 65.0474 | 117.8063 | 207.0723 | 342.6804 | 29.3248 | 124.4006 | 15.4529 | 6.2893 |  | 19.9844 | 21.9878 | 11.9448 | 7.9742 |  | 3.1562 |  | 35.5855 | 47.383 | 24.4114 | 9.2243 |  | 1.2022
2009 | TS | 633.3828 | 70.5833 | 94.1782 | 174.6959 | 338.0478 | 23.2611 | 79.1469 | 9.6443 | 8.5867 |  | 15.6816 | 25.7956 | 19.4757 | 5.808 |  | 3.8224 |  | 33.1571 | 26.7991 | 18.616 | 14.4122 |  | 1.1939
2010 | TS | 712.8325 | 73.9791 | 112.0644 | 178.7082 | 363.2549 | 19.0167 | 110.4517 | 12.559 | 28.842 |  | 16.6012 | 22.2344 | 21.5237 | 8.1154 |  | 5.5043 |  | 33.5541 | 35.4471 | 19.8158 | 18.0639 |  | 5.1837
2011 | TS | 600.4435 | 73.0339 | 106.0315 | 148.1204 | 320.8418 | 14.2994 | 68.5799 | 16.514 | 32.088 |  | 13.9565 | 27.1855 | 20.7766 | 5.0326 |  | 6.0828 |  | 28.3331 | 39.7244 | 19.3013 | 12.7345 |  | 5.9382
2012 | TS | 586.9409 | 74.9284 | 102.4053 | 159.3235 | 304.4631 | 16.6884 | 38.158 | 4.279 | 64.0289 |  | 14.9509 | 23.1459 | 21.7609 | 2.806 |  | 12.2648 |  | 29.927 | 33.8289 | 20.1921 | 6.791 |  | 11.6663
2013 | TS | 715.9911 | 65.3089 | 65.3089 | 182.5545 | 359.0791 | 22.6488 | 51.9318 | 0.716 | 99.0609 |  | 16.3119 | 29.5406 | 4.3606 | 4.3606 |  | 13.4607 |  | 32.6512 | 43.1751 | 19.2607 | 7.0523 |  | 12.8039
2014 | TS | 631.734 | 63.3157 | 63.3157 | 167.2086 | 326.5119 | 17.5638 | 44.5038 | 2.123 | 73.8228 |  | 14.4991 | 26.2577 | 3.1555 | 3.1555 |  | 11.9648 |  | 29.0226 | 38.377 | 17.1202 | 6.2685 |  | 11.381
2015 | TS | j01: 651.2867; j02: 63.5006; j03: 63.5006; j04: 164.6237; j05: 334.2736; j06: 19.9927; j07: 52.0937; j08: 1.114; j09: 79.189; j13: 3.273; j14: 3.273
2008 | HH | j01: 1832.5349; j02: 339.8268; j04: 559.8407; j05: 801.4629; j06: 60.4002; j07: 151.2539; j08: 40.8615; j09: 218.7156; j11: 86.9063; j12: 163.8771; j13: 61.8002; j14: 12.7961; j15: 3.8447; j16: 10.6024
2009 | HH | j01: 1761.527; j02: 336.067; j04: 491.2359; j05: 776.0307; j06: 55.555; j07: 161.7048; j08: 37.9534; j09: 239.0471; j11: 66.6821; j12: 175.0881; j13: 68.0708; j14: 14.7362; j16: 11.4898
2010 | HH | j01: 1977.988; j02: 324.4267; j04: 500.4541; j05: 875.8424; j06: 67.5658; j07: 177.5143; j08: 53.758; j09: 302.8534; j11: 62.2799; j12: 164.6074; j13: 71.8461; j14: 11.9017; j16: 13.7916
2011 | HH | j01: 1559.2459; j02: 381.2494; j04: 392.3682; j05: 682.1289; j06: 32.9479; j07: 145.4471; j08: 58.036; j09: 248.3178; j11: 80.9348; j12: 183.3493; j13: 69.3382; j14: 18.8999; j16: 28.7272
2012 | HH | j01: 1655.954; j02: 374.7576; j04: 449.458; j05: 734.1269; j06: 31.5648; j07: 152.4851; j08: 30.302; j09: 258.0171; j11: 85.611; j12: 178.72; j13: 68.5548; j14: 18.2709; j15: 0.77697; j16: 22.8239
2013 | HH | j01: 1763.4309; j02: 398.5366; j04: 466.3198; j05: 817.6399; j06: 31.311; j07: 157.2821; j08: 30.5164; j09: 260.3618; j11: 88.8228; j12: 199.0509; j13: 68.0035; j14: 18.8457; j15: 0.78247; j16: 23.0313
2014 | HH | j01: 1478.1017; j02: 361.7823; j04: 372.0246; j05: 671.4617; j06: 31.2396; j07: 137.9059; j08: 30.0269; j09: 235.443; j11: 76.7385; j12: 173.843; j13: 65.7431; j14: 17.92; j15: 0.3; j16: 27.2377
2015 | HH

## Tabelle1
| 4 | 4 |  | 0.7 |  | 0.0631 |  | 0.0631 |  | 1.0265e-05 |  | 1.0265e-05
|  |  | constant | linear | slow |  | fast |  | slow II |  | fast II
2015 | 0 | 1500625 | 100 | 100 | 100 |  | 100 | #NUM! | 100 |  | 100 | 15.4042
2020 | 625 | 810000 | 100 | 95.7143 | -1.3412e+17 | 1.3412e+17 | #NUM! | #NUM! | 99.9936 | 0.0064157 | 84.5958 | 8.3148
2025 | 10000 | 390625 | 100 | 91.4286 | -1.096e+274 | 1.096e+274 | #NUM! | #NUM! | 99.8909 | 0.10265 | 76.281 | 4.0098
2030 | 50625 | 160000 | 100 | 87.1429 | #NUM! | #NUM! | #NUM! | #NUM! | 99.3713 | 0.51967 | 72.2712 | 1.6424
2035 | 160000 | 50625 | 100 | 82.8571 | #NUM! | #NUM! | #NUM! | #NUM! | 97.7288 | 1.6424 | 70.6287 | 0.51967
2040 | 390625 | 10000 | 100 | 78.5714 | #NUM! | #NUM! | #NUM! | 1.096e+274 | 93.719 | 4.0098 | 70.1091 | 0.10265
2045 | 810000 | 625 | 100 | 74.2857 | #NUM! | #NUM! | #NUM! | 1.3412e+17 | 85.4042 | 8.3148 | 70.0064 | 0.0064157
2050 | 1500625 | 0 | 100 | 70 | #NUM! | #NUM! | #NUM! | 1 | 70 | 15.4042 | 70
| 2922500 | 2922500 |  |  |  | #NUM! |  |  |  | 30
| 4 | 4 |  | 0.7 |  | 0.0631 |  | 0.0631 |  | 1.5444e-05 |  | 1.2094e-05
|  |  | constant | linear | slow |  | fast |  | slow II |  | fast II
2015 | 0 | 1500625 | 100 | 100 | 100 |  | 100 | #NUM! | 100 |  | 100 | 18.1481
2020 | 625 | 810000 | 100 | 95.7143 | -1.3412e+17 | 1.3412e+17 | #NUM! | #NUM! | 99.9903 | 0.0096525 | 81.8519 | 9.7959
2030 | 50625 | 160000 | 100 | 87.1429 | #NUM! | #NUM! | #NUM! | #NUM! | 99.2085 | 0.78185 | 72.0559 | 1.935
2040 | 390625 | 10000 | 100 | 78.5714 | #NUM! | #NUM! | #NUM! | 1.096e+274 | 93.1757 | 6.0328 | 70.1209 | 0.12094
2050 | 1500625 | 0 | 100 | 70 | #NUM! | #NUM! | #NUM! | 1 | 70 | 23.1757 | 70 | 0
| 1942500 | 2480625 |  |  |  | #NUM! |  |  |  | 30

## HH_demand
Quelle: BMWi, Endenergieverbrauch nach Anwendungsbereich, Tab. 7 und 7a
| space heating | warm water | prcess heat | oil space heating | gas space heating | power space heating | district heating space heating | coal space heating | RES space heating | other space heating | oil warm water | gas warm water | power warm water | district heating warm water | coal warm water | RES warm water | other warm water
| j01 | j02 |  | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16
2008 | 1832.5349 | 339.8268 |  | 559.8407 | 801.4629 | 60.4002 | 151.2539 | 40.8615 | 218.7156 |  | 86.9063 | 163.8771 | 61.8002 | 12.7961 | 3.8447 | 10.6024
2009 | 1761.527 | 336.067 |  | 491.2359 | 776.0307 | 55.555 | 161.7048 | 37.9534 | 239.0471 |  | 66.6821 | 175.0881 | 68.0708 | 14.7362 | 0 | 11.4898
2010 | 1977.988 | 324.4267 |  | 500.4541 | 875.8424 | 67.5658 | 177.5143 | 53.758 | 302.8534 |  | 62.2799 | 164.6074 | 71.8461 | 11.9017 | 0 | 13.7916
2011 | 1559.2459 | 381.2494 |  | 392.3682 | 682.1289 | 32.9479 | 145.4471 | 58.036 | 248.3178 |  | 80.9348 | 183.3493 | 69.3382 | 18.8999 | 0 | 28.7272
2012 | 1655.954 | 374.7576 |  | 449.458 | 734.1269 | 31.5648 | 152.4851 | 30.302 | 258.0171 |  | 85.611 | 178.72 | 68.5548 | 18.2709 | 0.77697 | 22.8239
2013 | 1816.7006 | 345.4004 |  | 518.4345 | 788.1513 | 33.7426 | 170.6251 | 28.455 | 277.292 |  | 63.9385 | 173.6797 | 66.2134 | 13.8609 | 0 | 27.708
2014 | 1472.5918 | 332.3218 |  | 426.4765 | 621.0052 | 32.8491 | 139.4429 | 24.096 | 228.722 |  | 67.8985 | 156.038 | 54.6583 | 13.8991 | 0 | 39.828
2015 | 1569.6647 | 329.6486 |  | 423.001 | 684.9697 | 33.0599 | 154.2008 | 24.628 | 249.8054 |  | 61.916 | 155.9515 | 56.0012 | 14.1072 | 0 | 41.6726

## TS_demand
Quelle: BMWi, Endenergieverbrauch in PJ nach Anwendungsbereich, Tab. 7 und 7a
| space heating | warm water | prcess heat | oil space heating | gas space heating | power space heating | district heating space heating | coal space heating | RES space heating | other space heating | oil warm water | gas warm water | power warm water | district heating warm water | coal warm water | RES warm water | other warm water |  |  | district heating process heat
| j01 | j02 | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16 | j17 | j18 | j19 | j20
2008 | j01: 725.2202; j02: 65.0474; j03: 117.8063; j04: 207.0723; j05: 342.6804; j06: 29.3248; j07: 124.4006; j13: 7.9742; j14: 7.9742; j20: 9.2243
2009 | j01: 633.3828; j02: 70.5833; j03: 94.1782; j04: 174.6959; j05: 338.0478; j06: 23.2611; j07: 79.1469; j13: 5.808; j14: 5.808; j20: 14.4122
2010 | j01: 712.8325; j02: 73.9791; j03: 112.0644; j04: 178.7082; j05: 363.2549; j06: 19.0167; j07: 110.4517; j13: 8.1154; j14: 8.1154; j20: 18.0639
2011 | j01: 600.4435; j02: 73.0339; j03: 106.0315; j04: 148.1204; j05: 320.8418; j06: 14.2994; j07: 68.5799; j13: 5.0326; j14: 5.0326; j20: 12.7345
2012 | j01: 586.9409; j02: 74.9284; j03: 102.4053; j04: 159.3235; j05: 304.4631; j06: 16.6884; j07: 38.158; j13: 2.806; j14: 2.806; j20: 6.791
2013 | 715.9911 | 65.3089 | 65.3089 | 182.5545 | 359.0791 | 22.6488 | 51.9318 | 0.716 | 99.0609 |  |  |  | 4.3606 | 4.3606 | [5 empty] | 4.4696
2014 | 631.734 | 63.3157 | 63.3157 | 167.2086 | 326.5119 | 17.5638 | 44.5038 | 2.123 | 73.8228 |  |  |  | 3.1555 | 3.1555 | [5 empty] | 7.8887
2015 | 651.2867 | 63.5006 | 63.5006 | 164.6237 | 334.2736 | 19.9927 | 52.0937 | 1.114 | 79.189 |  |  |  | 3.273 | 3.273 | [5 empty] | 8.4713
| space heating | warm water | prcess heat | oil space heating | gas space heating | power space heating | district heating space heating | coal space heating | RES space heating | other space heating | oil warm water | gas warm water | power warm water | district heating warm water | coal warm water | RES warm water | other warm water
| j01 | j02 |  | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16
|  | 207.0723 | 174.6959 | j03: 178.7082; j04: 148.1204; j05: 159.3235; j06: 173.8266; j07: 154.5089
|  | 342.6804 | 338.0478 | j03: 363.2549; j04: 320.8418; j05: 304.4631; j06: 388.5799; j07: 345.3964
|  | 29.3248 | 23.2611 | j03: 19.0167; j04: 14.2994; j05: 16.6884; j06: 15.9186; j07: 14.1495
|  | 124.4006 | 79.1469 | j03: 110.4517; j04: 68.5799; j05: 38.158; j06: 39.6258; j07: 35.2221
|  | 15.4529 | 9.6443 | j03: 12.559; j04: 16.514; j05: 4.279; j06: 4.7825; j07: 4.251
|  | 6.2893 | 8.5867 | j03: 28.842; j04: 32.088; j05: 64.0289; j06: 70.2724; j07: 62.4629
[5 empty] | 124.4006 | 15.4529 | 6.2893
[5 empty] | 79.1469 | 9.6443 | 8.5867
[5 empty] | 110.4517 | 12.559 | 28.842
[5 empty] | 68.5799 | 16.514 | 32.088
[5 empty] | 38.158 | 4.279 | 64.0289
[5 empty] | 39.6258 | 4.7825 | 70.2724
[5 empty] | 35.2221 | 4.251 | 62.4629

## IN_demand
Quelle: BMWi, Endenergieverbrauch nach Anwendungsbereich, Tab. 7 und 7a
| space heating | warm water | other process heat | DH space heating | DH warm water | DH other process heat
| j01 | j02 | j03 | j04 | j05 | j06
2008 | 199.283 | 22.9569 | 1666.1295 | 23.636 |  | 104.1977
2009 | 217.5818 | 23.7484 | 1470.8308 | 29.9638 |  | 118.9015
2010 | 217.7829 | 23.9047 | 1692.8117 | 28.0399 |  | 115.0484
2011 | 224.2017 | 23.8431 | 1709.8675 | 29.8874 |  | 136.7508
2012 | 221.1157 | 23.2614 | 1664.7039 | 37.1731 |  | 171.3569
2013 | 192.6642 | 15.9588 | 1651.2149 | 28.2138 |  | 159.267
2014 | 169.7116 | 16.1236 | 1656.394 | 22.5853 |  | 149.6841
2015 | 174.7291 | 16.2333 | 1682.667 | 23.9081 |  | 154.5558

## GH_demand
Quelle: BMWi, Endenergieverbrauch in PJ nach Anwendungsbereich, Tab. 7 und 7a
| HH space heating | HH warm water | HH process heat | TS space heating | TS warm water | TS process heat | I space heating | I warm water | I process heat
| j01 | j02 | j03 | j04 | j05 | j06 | j07 | j08 | j09 | j10 | j11 | j12 | j13 | j14 | j15 | j16
2008 | j01: 151.2539; j02: 12.7961; j04: 124.4006; j05: 7.9742; j06: 9.2243; j07: 23.636; j09: 104.1977
2009 | j01: 161.7048; j02: 14.7362; j04: 79.1469; j05: 5.808; j06: 14.4122; j07: 29.9638; j09: 118.9015
2010 | j01: 177.5143; j02: 11.9017; j04: 110.4517; j05: 8.1154; j06: 18.0639; j07: 28.0399; j09: 115.0484
2011 | j01: 145.4471; j02: 18.8999; j04: 68.5799; j05: 5.0326; j06: 12.7345; j07: 29.8874; j09: 136.7508
2012 | j01: 152.4851; j02: 18.2709; j04: 38.158; j05: 2.806; j06: 6.791; j07: 37.1731; j09: 171.3569
2013 | j01: 160.1774; j02: 19.1926; j04: 38.3378; j05: 2.8192; j06: 6.823; j07: 37.3901; j09: 172.3574
2014
2015